1. Section 071400   
   Fluid-Applied Waterproofing
   1. PART 1  GENERAL
      1. SECTION INCLUDES
         1. Cold-applied elastomeric polymer dispersion waterproofing.
      2. ABBREVIATIONS
         1. HDPE - High-Density Polyethylene.
         2. NRCA - National Roofing Contractors Association.
         3. SBS - Styrene-Butadiene-Styrene.
      3. REFERENCE STANDARDS
         1. NRCA (WM) - The NRCA Waterproofing Manual; 2021.
      4. SUBMITTALS
         1. See Section 013000 - Administrative Requirements for submittal procedures.
         2. Shop Drawings:  Indicate special joint or termination conditions and conditions of interface with other materials.
         3. Warranty Documentation:
            1. Submit manufacturer warranty and ensure that forms have been completed in Owner's name and registered with manufacturer.
      5. WARRANTY
         1. See Section 017800 - Closeout Submittals for additional warranty requirements.
         2. Installer Warranty:  Provide 2-year warranty for waterproofing failing to resist penetration of water commencing on Date of Substantial Completion. Complete forms in Owner's name and register with installer.
         3. Extended Correction Period:  Correct defective work within 2-year period commencing on Date of Substantial Completion.
   2. PART 2  PRODUCTS
      1. FLUID-APPLIED WATERPROOFING APPLICATIONS
         1. Cold-Applied Elastomeric Polymer Dispersion Waterproofing:
      2. FLUID-APPLIED WATERPROOFING MATERIALS
         1. Cold-Applied Elastomeric Polymer Dispersion Waterproofing:
            1. Cured Thickness:  30 mil, 0.030 inch, minimum.
            2. Suitable for installation over unit masonry and exterior sheathing substrates at waterproofing of window, door, and CMU openings above and below grade.
      3. ACCESSORIES
         1. Sealant for Joints and Cracks in Substrate:  Type compatible with waterproofing material and as recommended by waterproofing manufacturer.
   3. PART 3  EXECUTION
      1. INSTALLATION
         1. Install waterproofing to specified minimum thickness in accordance with manufacturers instructions and NRCA (WM) applicable requirements.
         2. Seal membrane and flashings to adjoining surfaces.
2. END OF SECTION

This page intentionally left blank